## Slide 1: Measuring Things
E80 Spring 2015

## Slide 2: Why do we care?
Who is this man?
Notes: Michael Mann, the director of Pennsylvania State University's Earth System Science Center

## Slide 3: Your Mission
Mythbuster Tech Advisor
Testing Arrows for a crossbow

## Slide 4: Brand 1 Arrows

## Slide 5: Brand 2 Arrows

## Slide 6: Brand 3 Arrows

## Slide 7: Brand 4 Arrows

## Slide 8: Crossbow Questions
Where is the center of the distribution, i.e., what is the aiming point?
How certain are you?
If we aim the crossbow at the apple, how likely is BusterTM to get an arrow in the head?

## Slide 9: Measured Value
Where is the center of the distribution, i.e., where should we put the target?
Use the sample mean.

## Slide 10: Error Estimate
How certain are you?
Use Estimated Standard Error and Student’s t-test

## Slide 11: Students t-test
SIGNIFICANCE LEVEL FOR TWO-TAILED TEST |  |  |  |  |  | 
df | .20 | .10 | .05 | .02 | .01 | .001
1 | 3.078 | 6.314 | 12.706 | 31.821 | 63.657 | 636.619
2 | 1.886 | 2.920 | 4.303 | 6.965 | 9.925 | 31.598
3 | 1.638 | 2.353 | 3.182 | 4.541 | 5.841 | 12.941
4 | 1.533 | 2.132 | 2.776 | 3.747 | 4.604 | 8.610
5 | 1.476 | 2.015 | 2.571 | 3.365 | 4.032 | 6.859
10 | 1.372 | 1.812 | 2.228 | 2.764 | 3.169 | 4.587
20 | 1.325 | 1.725 | 2.086 | 2.528 | 2.845 | 3.850
30 | 1.310 | 1.697 | 2.042 | 2.457 | 2.750 | 3.646
40 | 1.303 | 1.684 | 2.021 | 2.423 | 2.704 | 3.551
60 | 1.296 | 1.671 | 2.000 | 2.390 | 2.660 | 3.460
120 | 1.289 | 1.658 | 1.980 | 2.358 | 2.617 | 3.373
∞ | 1.282 | 1.645 | 1.960 | 2.326 | 2.576 | 3.291

## Slide 12: Spread of Data
If we aim the crossbow at the apple, how likely is BusterTM to get an arrow in the head?
Use sample standard deviation

## Slide 13: Linear Fits
How about fitting lines to sets of data?
Use linear least squares fit.

## Slide 14: How Certain Are We?
How good are the betas?

## Slide 15: Why? Because!
How certain is the calculated value of y for a chosen x?
If we experimentally set x, how will the experimental y’s spread (The arrow in the head question)?
Use Se like you previously used S.

## Slide 16: What About Functions?
What if you want T?
and you measure β and R?

## Slide 17: How error in x affects F(x)

## Slide 18: Error Propagation
For
Let

## Slide 19: Thermistor Example

## Slide 20: Results
 | Nom. Value | error% | error | error term
β | 4261 | 1% | 42.61 | 0.23
R (Ω) | 3,700,000 | 10% | 370000 | 1.75
T (K) | 273.14 |  |  | 1.77
T0 (K) | 298.15 |  |  | 
R0 (Ω) | 1000000 |  |  | 

## Slide 21: What if you hate calculus?
You can do the whole thing on a spreadsheet with no calculus.
Value | Nominal | β + 1% | β – 1% | R + 10% | R – 10%
T0 (K) | 298.15 | 298.15 | 298.15 | 298.15 | 298.15
R0 (Ω) | 1,000,000 | 1,000,000 | 1,000,000 | 1,000,000 | 1,000,000
β | 4261 | 4303.61 | 4218.39 | 4261 | 4261
R (Ω) | 3,700,000 | 3,700,000 | 3,700,000 | 4,070,000 | 3,330,000
T (K) | 273.14 | 273.37 | 272.91 | 271.49 | 275.00
∆T (K) |  | 0.46 |  | -3.52 | 
error (K) | 3.55 |  |  |  | 
±error (K) | 1.77 |  |  |  | 

## Slide 22: Steinhart-Hart Example

## Slide 23
 | Nom. Value | error% | error | error term
A1 | 3.354016E-03 | 0.1% | 3.35402E-06 | 0.318
B1 | 2.460382E-04 | 1% | 2.46038E-06 | -0.104
C1 | 3.405377E-06 | 1% | 3.40538E-08 | 0.001
D1 | 1.034240E-07 | 1% | 1.03424E-09 | 0.000
R (Ω) | 64080 | 3% | 1922.4 | 0.692
T (K) | 308.15 |  |  | 0.769
Rref | 100,000 |  |  | 

## Slide 24: Calculus free style
Value | Nominal | A1 +0.1% | A1 –0.1% | B1 +1% | B1 –1% | C1 +1% | C1 –1% | D1 +1% | D1 –1% | R +3% | R –%
A1 | 0.003354016 | 0.00335737 | 0.003350662 | 0.003354016 | 0.003354016 | 0.003354016 | 0.003354016 | 0.003354016 | 0.003354016 | 0.003354016 | 0.003354016
B1 | 0.000246038 | 0.000246038 | 0.000246038 | 0.000248499 | 0.000243578 | 0.000246038 | 0.000246038 | 0.000246038 | 0.000246038 | 0.000246038 | 0.000246038
C1 | 3.40538E-06 | 3.40538E-06 | 3.40538E-06 | 3.40538E-06 | 3.40538E-06 | 3.43943E-06 | 3.37132E-06 | 3.40538E-06 | 3.40538E-06 | 3.40538E-06 | 3.40538E-06
D1 | 1.03424E-07 | 1.03424E-07 | 1.03424E-07 | 1.03424E-07 | 1.03424E-07 | 1.03424E-07 | 1.03424E-07 | 1.04458E-07 | 1.0239E-07 | 1.03424E-07 | 1.03424E-07
Rref | 100,000 | 100,000 | 100,000 | 100,000 | 100,000 | 100,000 | 100,000 | 100,000 | 100,000 | 100,000 | 100,000
R | 64,080 | 64,080 | 64,080 | 64,080 | 64,080 | 64,080 | 64,080 | 64,080 | 64,080 | 66,002 | 62,158
Tcalc | 308.15 | 307.83 | 308.47 | 308.25 | 308.04 | 308.15 | 308.15 | 308.15 | 308.15 | 307.47 | 308.85
∆T |  | -0.64 |  | 0.21 |  | 0.00 |  | 0.00 |  | -1.39 | 
error | 1.539 |  |  |  |  |  |  |  |  |  | 
error ± | 0.769 |  |  |  |  |  |  |  |  |  | 

## Slide 25: What happens to Integrals?

## Slide 26: Finite Precision?
Calculate or determine the quantization range, q, e.g., for a ±5V, 12-bit DAQ:
If ignore quantization
If include as
If confidence interval is

## Slide 27: Resources
Data Analysis Lecture Notes
  http://www.eng.hmc.edu/NewE80/PDFs/DataAnalysisLecNotes2015.pdf
NIST Engineering Statistics Handbook
  http://www.itl.nist.gov/div898/handbook/
ISO Guide to the Expression of Uncertainty in Measurement
  http://www.iso.org/sites/JCGM/GUM/JCGM100/C045315e-html/C045315e.html?csnumber=50461